## Slide 1: ALBA Status and Upgrade
33rd ESLS workshop – 30th October 2025, Soleil
Ferran Fernandez, on behalf of the Accelerators team

## Slide 2
2025 Operation

## Slide 3
ALBA Synchrotron Light Source
Linac  0.1 GeV
Booster  0.1-3.0 GeV
Storage Ring  3.0 GeV
  268.8 m
  4.5 nm·rad
  250 mA in Top-Up

## Slide 4
 | Hours
M | 1.152
BL | 4.512
Total | 5.664
4
Operation Calendar 2025
4
SR Bending magnets PS incident

## Slide 5
Statistics
73% 84%
Chart: Beam availability_2025: 97.55%
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | RUN_01 | RUN_02 | RUN_03 | RUN_04 | RUN_05 | RUN_06 | RUN_07 | RUN_08
BA | 0.77 | 0.83848 | 0.96809 | 0.97346 | 0.97618 | 0.983 | 0.9818 | 0.9796 | 0.982 | 0.964 | 0.977 | 0.98293 | 0.97992 | 0.98686 | 0.96366 | 0.96576 | 0.99522 | 0.98313 | 0.96914
cumulative results | 0.77 | 0.83848 | 0.968 | 0.97346 | 0.9762 | 0.9831 | 0.9818 | 0.98 | 0.982 | 0.964 | 0.977 | 0.9829 | 0.9799 | 0.9869 | 0.97077 | 0.96921 | 0.97558 | 0.97701 | 0.97552

## Slide 6
6
SR-Bending Magnets Power Converter incident

## Slide 7
SR PS tested after Winter Shutdown (1 week before start operation)
SR PS worked during first 4 M days
Failure the day before start with Beamlines
Temporary solution: rent two transformers from a Belgium company (not same voltage)
New transformers bought and installed following shutdown
Operations calendar 2025 modified to recover the 13 BL days lost
SR-Bending Magnets Power Converter incident
7

## Slide 8
8
Peninsula blackout
  28th April 12h30 a general blackout affected the whole country (ALBA machine day)
  ALBA UPS and diesel generators worked as expected
    Critical equipment kept running: data servers, internet, vacuum system, SCW cryocoolers, …
    Some equipment status secured for a safe restart
  Afternoon and night shifts cancelled. All the staff required for the recovery to meet early next morning
  The following day (beam for users) it took 8h to recover
    Turn on transformers, power up SA racks, turn on water cooling…
  Some lessons learnt  CRISIS COMMITTEE working in procedures/checklists

## Slide 9
ALBA Accelerator Developments

## Slide 10
New Booster Power Supplies
Install Easter 2026  SAT Summer 2026
Both present and new PS operative  switch rack
New PS
Present PS
Switch

## Slide 11
Aluminum cooling water circuit
Dedicated water cooling circuit for aluminum chambers cooling

## Slide 12
3rd Order Harmonic Cavities
Installation of 4 harmonic RF systems in ALBA SR
Planned to be in operation by the end 2026
2 cavities in long straight sections: S08 & S12

## Slide 13
Double Dipole Kicker
Installation of DDK in ALBA SR this winter shutdown

## Slide 14
ALBA II Upgrade
14

## Slide 15
ALBA II Objectives
Replace the Storage ring Accelerator of ALBA
Upgrade the existing beamlines
Build new long beamlines
ALBA II Design Constrains
Keep beam energy 3 GeV
Keep the tunnel  SR with similar compact circumference
Keep existing ID beamlines  preserve 16 cells and source points
Bending beamlines can be relocated
Keep injector (present εxbooster = 10 nm∙rad)
Keep infrastructures, as much as possible
Straight sections 4 m, with βx βy 2 m
Reduce emittance by more than a factor 10 (<400pmrad)

## Slide 16
Starting the design
Presenting to funding agencies the ‘pre-White Paper’
ALBA II included in 2021-2024 ALBA Strategy Plan
First funding for prototyping (ALBA01) – 7.5 M€
Funding for 1st ALBA II BL (ALBA05) – 10 M€
New plots assigned for Long BLs extension - 16 M€
White Paper published
Decision on long BLs
Government approval long-term budget (2024-2038)
Define project work packages
Prototyping
Design
Production + Assembly
Dark period
Operation
ALBA II Main Dates
2020 2021 2022 2023 2024 2025 2026 2027 2028 2029 2030 2031 2032 2033
September 2025

## Slide 17
ALBA II Lattice Design
October 2024 5BA with octupoles (ESLS’24)
September 2025 Alpha lattice

## Slide 18
ALBA II Correction Scheme
11 BPM
11 HCM (7 in Sext, 4 in SS)
11 VCM (7 in Sext, 4 in SS)
16 quadrupole gradients
11 SKCOR in octupoles

## Slide 19
ALBA II Lattice Design
Octupoles ON only during injection?  improve lifetime

## Slide 20
ALBA II Prototyping
Straight Section SR corrector
BPM test chamber and buttons

## Slide 21
ALBA II Prototyping
Magnet dummies to test Girder

## Slide 22
ALBA II Prototyping
CuCrZr chamber
Vacuum test bench

## Slide 23
ALBA II Eng. design
Light extraction  magnets modifications

## Slide 24
ALBA II Implementation program
Tunnel Removal and Installation plan
Required spaces for storage and assembly

## Slide 25
On behalf of the Accelerator Division
and the ALBA II team,
Thanks for your attention