## Slide 1: Beta function measurement at the SLS 2.0 storage ring
Jesús Ávila Pulido and Jonas Kallestrup
European Synchrotron Light Source Workshop. 31 October 2025

## Slide 2: SLS 2.0
[1]
SLS
SLS 2.0
Notes: 1007 Magnets. 388 in SLS

## Slide 3: SLS 2.0
[1]
SLS
SLS 2.0
Notes: 1007 Magnets.

## Slide 4: Beta function
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Trajectory of a particle in the beam (betatron oscillations):
Beam envelope:
the emittance
is the beta function, it describes the transverse focusing properties of the storage ring
If is different than expected, the beam quality is degraded

## Slide 5: Quadrupole magnets, tune, and beta functions
Tune (): number of betatron oscillations per turn,
Quadrupole magnets provide focusing and defocusing to the beam. Changing their strength () changes the tune () by,

## Slide 6: Quadrupole magnets, tune, and beta functions
Tune (): number of betatron oscillations per turn,
Quadrupole magnets provide focusing and defocusing to the beam. Changing their strength () changes the tune (). The beta function can be obtained from
This method is known as quadrupole variation (QV). It is a “direct” measurement
SLS 2.0 has 264 quadrupoles and 115 beam position monitors (BPMs)
[2]

## Slide 7
Measuring tune
Excite the beam
Record the centroid coordinates as a function of the number of turns
Notes: "C:\Users\avilap_j\Documents\Figs_exam\fft_real_data_plot.py“.

## Slide 8
Measuring tune
Excite the beam
Record the centroid coordinates as a function of the number of turns
* Tune was determined using the NAFF (Numerical Analysis of Fundamental Frequencies) method.
3. Perform a Fourier Transform*

## Slide 9: Mixed BPM Method
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Use data of M BPMs for N turns with NAFF method
[3]
For 60 BPMs and 5 turns.

## Slide 10: Experimental procedure
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Not back to the original tune due to hysteresis
Varying the current of one quadrupole
(or )
Tune measured five times and averaged
Vary the current until
Repeat in the 264 quadrupoles
Notes: Taking the average helps to compensate for the fact that changing the quadrupoles strength perturbs the optics of the machine.
The tune shifts produced by quadrupole variation should be above the statistical errors, the minimum quadrupole excitation (ΔK) to obtain a tune shift about the statistical error, consider the smallest theoretical β that we want to measure, ΔKx, min is 0.014 A.

## Slide 11
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Beta function measurement

## Slide 12: Beta function measurement
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 13
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Tune noise
Notes: The decrease of the tune in both directions indicates that the beam energy is shifting slightly as the machine is warming up. This corresponds to an energy shift of around -0.5 MeV.

## Slide 14
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Tune noise

## Slide 15: Beta-beat
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Targeted rms beta-beat: <2%
Notes: Results from Run6.
Why below 2%?

## Slide 16: Beta-beat
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Systematic errors:
  Magnet transfer function.
  Closed orbit distortions.
Notes: Results from Run6.

## Slide 17: Simulation of beta-beat
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 18
Simulation of beta-beat

## Slide 19: Changes in beta function due to closed orbit distortions
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Notes: FOFB running

## Slide 20: Reproducibility
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 21: Summary and outlook
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Errors |  |  | 
Type | Origin | Contribution | 
 |  | [cm] | [cm]
Statistical | Tune jitter | 0.55 | 0.38
Systematic | Closed orbit distortions | 0.90 | 0.40
 | Magnet transfer function | - | -
Errors |  |  | 
Type | Origin | Contribution | 
Statistical | Tune jitter |  | 
Systematic | Closed orbit distortions |  | 
 | Magnet transfer function | - | -

## Slide 22: Summary and outlook
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Errors |  |  | 
Type | Origin | Contribution | 
 |  | [cm] | [cm]
Statistical | Tune jitter | 0.55 | 0.38
Systematic | Closed orbit distortions | 0.90 | 0.40
 | Magnet transfer function | - | -
Errors |  |  | 
Type | Origin | Contribution | 
Statistical | Tune jitter |  | 
Systematic | Closed orbit distortions |  | 
 | Magnet transfer function | - | -
Optics correction
We cannot correct the vertical and horizontal plane independently
Errors contributing to the beta-beat are not necessarily in the quadrupoles
We want to correct the beta-beat without perturbing the dispersion
112 additional quadrupoles to help with the correction

## Slide 23: Outlook: Sinusoidal QV
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
QV is lengthy, 2 hours for the whole ring. Working on a faster version of QV: Sinusoidal QV
Quadrupole strength:
Notes: K=0.01 sin⁡〖[2𝜋 (1 𝐻𝑧)𝑡]〗, 𝑡=10 𝑠. 𝑠𝑎𝑚𝑝𝑙𝑒 𝑟𝑎𝑡𝑒=100 𝐻𝑧. Δ𝑄 the height of the peak.

## Slide 24
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
10 consecutive quadrupoles, , from 1 to 10 Hz,

## Slide 25: References
[1] A. Streun et al. “Swiss Light Source upgrade lattice design.” In: Phys. Rev. Accel. Beams 26 (9 Sept. 2023), p. 091601. doi: 10.1103/PhysRevAccelBeams.26.091601.
[2] G. M. Michiko and F. Zimmermann. Measurement and Control of Charged Particle Beams. Heidelberg: Springer, 2003. DOI: 10.1007/978-3-662-08581-3.
[3] P. Zisopoulos, Y. Papaphilippou, and J. Laskar. “Refined betatron tune measurements by mixing beam position data”. In: Phys. Rev. Accel. Beams 22 (7 July 2019), p. 071002. doi:10.1103 /PhysRevAccelBeams.22.071002.
[4] A. Wolski. Beam Dynamics in High Energy Particle Accelerators. London: Imperial College Press, 2014.
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 26
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 27
Extra slides
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 28: NAFF
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Consider the signal
On the n-th turn,
The Fourier transform is,
Let be a real number,
Finding an that maximizes implies searching for a frequency that gives the maximum overlap between the measured signal and a signal at the given frequency.
[4]
Notes: DFT: N turns, N Fourier modes, mode with the highest amplitude is the tune. Precision of 1 / N. In FFT, m is an integer. \bar{w} gas a maximum when \Delta = 0, it is reach only on the very particular case where Nfrac{\nu} is also an integer. In Naff, m can take any value.
A filter can be apply. 1 / N^

## Slide 29: Mixed BPM Method
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Error for N turns:
FFT:
NAFF (Hann window order ):
Mixed BPM method:
Use data of M BPMs for N turns with NAFF method
Vectorize array. More samples (), and higher sample rate ( per turn)
Transform the array into a vector of dimensions (BPM by BPM):
[3]
Notes: Error in sampling period since BPMs are not equidistant, error due to BPM-by-BPM modulation of the beta function. Errors are periodic.
Plots: The first 5 turns (top) in 42 BPMS, signal of each BPM with different color. 5 turns, 42 BPMs, 210 samples

## Slide 30: Simulation of beta-beat
Distribution of the mean beta-beat for 44 seeds.

## Slide 31: Dispersion
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 32: Optics correction
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Consider the n optics function and n quadrupoles with strengths
We want to reach the ideal values We have the initial values and . We can do a first order expansion,
A is the response matrix.
Unfortunately, we would like match optics function with only quadrupoles,
Singular value decomposition

## Slide 33: Optics correction
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
Singular value decomposition
SVD cut
Tikhonov regularization
Consider only some singular values
‘Damping’ of singular values
Notes: Filter singular values (s), s / (s^2 + alpha^2)

## Slide 34: Reproducibility

## Slide 35
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne

## Slide 36: Average beta function
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
The Twiss parameters can also be transported,

## Slide 37: Average beta function
PSI Center for Accelerator Science and Engineering and École Polytechnique Fédérale de Lausanne
The measured beta function is equivalent to the beta function in the middle of the quadrupole. In SLS 2.0, , and the maximum magnet strength is .
Notes: Maximum \gamma in the horizontal and vertical directions are 10.24 and 3.21, respectively. This means that the term L2qγ0 is at most 0.037 m in x, and 0.01 m in y

## Slide 38: Equation for beta function determination
For the horizontal motion of a particle in a quadrupole of strength k []:
The effect of the quadrupole can be represented by a deflection:
With the integrated quadrupole strength in .
Recall the one-turn matrix:
The effect of a change in gradient can be written as:
With trace
Notes: + To the horizontal, - to the vertical plane.

## Slide 39
Let , the new tune after a change in gradient. The trace of the product of (1) and (2) should be equal to
If and
Approximation not valid close to integer and half-integer resonances and large .