## Slide 1: Taurus-based GUIs at Balder beamline Konstantin Klementiev MAX IV Laboratory

## Slide 2
Beamlines at MAX IV
Hard X-ray spectroscopy
Soft X-ray spectroscopy

## Slide 3
In vacuum wiggler, 1013 photons/s, energy range 2.4 – 40 keV (presently from 4 keV)
Focusing down to ~7070 µm², defocusing vertically up to 2 mm
Fast scans: full EXAFS up to 2Hz continuous acquisition, typ. 10-30 s/spectrum
Balder beamline: source and optics

## Slide 4
GUI Synoptic

## Slide 5
GUI BalderMotors
sardana.taurus.qt.qtgui.extra_pool.PoolMotorTV

## Slide 6
GUI BalderMotors
The whole Taurus GUI gets segmentation fault during start-up when faulty motors exist
Store/Restore motor groups for specific instruments

## Slide 7
GUI BalderScans

## Slide 8
GUI BalderScans

## Slide 9
Conclusions
Taurus does serve its purpose. It is usable by beamline staff. It is getting faster in time (great!).
Usability is sometimes questionable from my and users’ perspective, probably not so from the developers’ perspective. Tooltips are under-used; and there is no tooltip role.
The standard widgets (e.g. PoolMotorTV) are hardly tunable. Even the top-most Jorg’s bar is not (!)
A few common tasks/widgets are missing: store/restore motor groups, signal definitions, beam loss sound notification, beam presence check before scan start.
Thank you for your attention!