## Slide 1: DCCT Noise and Beam Lifetime Measurement
11th DEELS workshop SOLEIL, June 10-11 2024
Gero Kube
Saint-Aubin, 11.6.2024

## Slide 2: Motivation
How it started…
in one (of many) meetings, question popped up
  how fast does it take to measure a reliable beam lifetime?
searching in literature
  topic of beam lifetime seldom treated
  had to scratch my head and do it by myself…

## Slide 3: Lifetime Determination
Recapitulation
Principle
exponential decay of lifetime
measurement with fixed sample rate
  e.g. via DVM: fixed Number of Power Line Cycles (NPLC)
lifetime determination
  information about τ: in slope
  access to slope (and error) → χ 2 minimization
standard assumption:
=

## Slide 4: χ2 Minimization
Parameter Estimation
Task
determine slope with error from data set (xn , yn), assuming linear relationship
standard method: χ 2 minimization → for simple cases: analytical expression
result (consider only slope because of τ-dependency)
with
find (m0 ,b0) which minimize χ 2

## Slide 5: χ2 Minimization (2)
Parameter Error
Covariance or Error Matrix
reminder
result (consider only slope error because of τ-dependency)
with
application
  form matrix A
  matrix inversion

## Slide 6: Parameter Estimate and Error
Appliction to specific Example
Data Sampling with constant Rate
assignment:
simplification
result

## Slide 7: Lifetime and Lifetime Error
Transfer
Lifetime
recap:
Lifetime Error
error propagation
  insert
  introduce current loss in data acquisition period:
  in accordance with
  X. Huang, J. Corbett, NIM A629 (2011) 31

## Slide 8: Data Acquisition Time
Transfer
Number of Samples and Acquisition Time
rearrangement
Examples
  PETRA IV high brightness mode:
    I0 = 200 mA
    σI = 0.5 µA
    τ = 10 h
    στ/τ = 1%
    Ts = 0.2 s
  example X. Huang, J. Corbett, NIM A629 (2011) 31
    I0 = 100 mA
    σI = 1 µA
    τ = 50 h
    στ/τ = 1%
    Ts = 1 s

## Slide 9: DCCT Studies at PETRA III
Performance Studies in view of PETRA IV
Resolution Studies: P3 PCT vs. P4 NPCT installed at P3
requirement
  ability to detect each tranferred bunch with DC monitor
    minimum transferred current (200 mA, 1920 bunches, 1% top-up)
    Imin = 1 µA
    minimum detectable current: factor 2 above noise level
  maximum noise level: rms(I) ≤ 0.5 µA
  interesting observation: PCT better than NPCT (NPLC « 1)
measurement: monitor resolution as function of NPLC
  natural time unit: Number of Power Line Cycles (NPLC)
  readout based on 7.5 digit DVM (Keithley DMM 7510)
    resolution dominated by (N)PCT noise, not by DVM
NPCT fulfils specifications

## Slide 10: Lifetime versus Monitor Resolution
Performance Studies in view of PETRA IV
Lifetime Determination
lifetime determination based (usually) on measurement of DC current
  machine physics: fast lifetime determination → short measurement time, NPLC small
  user stability: precise intensity measurement → long measurement time, NPLC large
balancing both requirements
  assumptions:
    I0 = 200 mA
    τ = 10 h
    Δτ/τ = 1%
    Ts = sampling time
lifetime determination to level of 1% should be possible within 5-6 s

## Slide 11: Extension to multiple Devices
Qunatifying the Benefit
Proposal
instead of single DCCT → M intensity measurements available (e.g. BPM sum signal)
  proposal and realization at ESRF (and others):
Modification
single device lifetime error
  B.K. Scheidt, F. Ewald and B. Joly, Proc. DIPAC 2011, p .194
M devices, each with same error σI
  modified data acquisition time:

## Slide 12: Data Acquisition Time for multiple Devices
Example
PETRA IV High Brightness Mode
    σI / I0 ≙ σSUM / SUMmax ≈ 2.23 x 10-5
    τ = 10 h
    στ/τ = 1%
    Ts = 0.1 s
    M = 800
parameters
  measured with Libera Brilliance @ 100 mA (max. ADC ≈ 20000)
  SA data path
  number of BPMs for PETRA IV
  ( factor ≈ 2.7)

## Slide 13: Question / Comment
Implementation on BPM Electronics
Χ2 Minimization Result
  could it be of interest to implement it directly on Libera?
  first attempt:
  A. Kosicek, P. Leban, B.K. Scheidt, Proc. BIW 2010, p .311
fit result for exponential decay
  exact formula without linearization